## Slide 1
MPC @ LBNL
David Blum
Postdoctoral Fellow
Building Technology and Urban Systems Division
Lawrence Berkeley National laboratory
Office: 90-3145
Phone: +1 (510) 486-4741
Email: dhblum@lbl.gov

## Slide 2
PIs:
Michael Wetter, Jessica Granderson, Eleanor Lee, Tianzhen Hong, Rich Brown, Mary Ann Piette
Researchers:
David Blum, Christoph Gehbauer, Baptiste Ravache, Guanjing Lin, Marco Pitroni, Michael Spears
Affiliates and Collaborators:
Lisa Rivalin (Engie), Krzysztof Arendt (SDU), Ruoxi Jia (UCB), Gerald Schweiger (TU Gratz), Filip Jorissen (KU Leuven), Petri Jantunen (Aalto)
MPC @ LBNL

## Slide 3
1) Overview of Projects
2) Collaboration Goals
MPC @ LBNL

## Slide 4
Chilled Water Plant Control (Completed)
Problem: Tradeoff chiller power for tower power
Funding: Department of Defense ESTCP Program
Supply
Return
Return
Supply
Condenser Return
Temperature
Power
Tower
Chiller
Outside Wet-Bulb
Condenser Water Loop
Chilled Water Loop
Notes: A Solar house
There are many other Applications.

## Slide 5
Open-Source Software Development (On going)
Problem: Develop, demonstrate, distribute MPC software
Funding: U.S. Department of Energy U.S.-China Clean Energy Research Center
Notes: A Solar house
There are many other Applications.

## Slide 6
Fan power
Compressor power
Pump power
Fan Power
Fan power
Compressor power
Interior
Diffuser
Office Area
RTU
Heatpump
Cooling Towers
UFT Boxes
Data Center
Supply Air
Return Air
Return Water
Supply Water
Perimeter
Diffuser
Occupant behavior
and preferences
Occupant-Integrated Building HVAC Control (On going)
Problem: Minimize energy consumption and improve thermal comfort
Funding: U.S. Department of Energy U.S.-China Clean Energy Research Center
Notes: A Solar house
There are many other Applications.

## Slide 7
Dynamic Façade Control (On going)
Problem: Tradeoff daylight, glare, lighting, heating and cooling
Funding: California Energy Commission
Image
Heat gain
Glare
Daylight
Electric lighting
Heater/
Cooler
Shading
Sun movement
Notes: A Solar house
There are many other Applications.

## Slide 8
Convenience Store Refrigeration, HVAC, PV, and Battery Integration (Started)
Problem: Manage net load to provide grid services
Funding: California Energy Commission

## Slide 9
Building Optimization Testing (BOPTEST) Framework (Started)
Problem: Develop methods and test cases for advanced control systems
Funding: U.S. Department of Energy Building Technologies Office

## Slide 10
What we hope to get out of participating in WP 1.2
  Insights on modeling and optimization approaches to different applications.
  Practical issues with implementations – dealing with faults, sensors, data, controllability.
  Tools available or in development.
  Collaboration on Modelica library development.
  Collaboration on BOPTEST development.
  How far can Modelica take us?
  Establish future collaboration partners and exchanges.